## Slide 1: TimeLapseReg an ImageJ plugin for drift correction of video sequence in time-lapse microscopy
Raghavender Sahdev, Tomasz, Dimiter Prodanov, Daniel Sage

## Slide 2: Motivation
Drift in microscopy
  Time-lapse microscopy experiments
    Calcium imaging: 3 minutes at 100 Hz > 18000 frames
    Bacterial colony study: 3 days every 15 sec. > 17280 frames
  Small and slow displacement
    Slippage of the focus mechanism
    Thermal gradients in the microscope
  Needs
    Automatic software (long sequence, multiple channel)
      working with diffuse structure
      working with noisy data (e.g. 2P microscope)

## Slide 3: TurboReg/StackReg
TurboReg/StackeReg: Java plugins of ImageJ
  TurboReg: manual or automatic alignment of 2 images
    contains the engine (computational part of the registration)
  StackReg: automatic recursive alignment of 2 consecutive frames
    useTurboReg
TurboReg/StackReg
  Very robust in presence of noise (multiresolution)
  Reasonably fast
  No need of keypoints of visual structure (mutual information criteria)
  Geometric transformation expressed by 2 sets of points
TurboReg/StackeReg: defacto standard in calcium imaging
    Akerboom (2012) Silbering (2012) Yang (2012) Lecoq (2014) Tiang (2009) Kaifosh (2014) Mukamel (2009) ...

## Slide 4: Pratical limitations of StackReg?
No choice for the reference image
Require that the complete sequence fit in RAM -> impossible to process long sequence
Do not allow to compute the transformation on one channel and to apply it on other channels
Do not prevent large transformation (we know that we have small drift)
No preprocessing to denoise the noisy image

## Slide 5: Goal of TimeLapseReg
Goal: drift correction of long sequence of time lapse microscopy images (small translations/rotations).
Improve User interface
Uses the TurboReg/StackReg
Application: Calcium fluorescence imaging to reconstruct neuronal and glial cells populations activity.

## Slide 6: TimeLapseReg
 |  |  |  |  |  |  |  |  |  | X | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Good Transformation
 | Invalid transformations
 | Current image under consideration
 | Reference Image
 | Discarded Frame
 | Frames yet to be computed
Registration Process
Frames 1,2,3,4……n
Computing transformations and populating the Feedback Table 1 on the go
Direction of computation from frame 1 to n
. . . . .
Frames discarded based on pre-processing step
Reference Image is computed as in Fig. 3
Select method for Reference Image
Set translation and rotation limits
Output
Input TimeLapse sequence
Discard inappropriate frames
Trajectory drawn on reference image
Chart showing transformation
Table being dynamically populated while computing transformations
Transformations stored in csv file
input

## Slide 7: Alignment Process
Alignment Process
 |  |  |  |  |  |  |  |  |  | X | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Frames 1,2,3,4……n
Direction of alignment from frame 1 to n
Choose
Project Path
Transformation file
Aligned images folder
Read Computed Transformations from csv file
Aligned images stored in the specified Folder
Frames discarded during registration
 | Good Transformation
 | Current image under consideration
 | Discarded Transformation
 | Frames yet to be computed
output
input

## Slide 8: Features of TimeLapseReg
  User gets an option to input the timelapse sequence and set the frame rate
  User gets dynamic feedback in the form of a table listing the initial few frames and their info

## Slide 9: Step 2: Reference image computation
  User gets the option to compute the reference image by a number of metrics
    Average
    Maximum
    Median.
  The reference image is computed and user can view it ; user may choose a different metric if he does not like the computed reference image

## Slide 10: Step 3,4: Discarding frames, Registration
  User gets the option to discard inappropriate frames which may make result in unstable transformation
  User get the option to set the limits under which the translation is to be treated as valid.

## Slide 11: User-Feedback
  A dynamically generated table is produced listing the frame info computed transformations
    Green – valid transformation
    Yellow – Invalid transformation
    Red – Invalid standard deviation / mean
  At the termination of the registration process user can see the computed transformations through the chart above
    Red curve – translation in x
    Blue curve – translation in y
    Green curve – rotation angle

## Slide 12: Alignment Process
After registering the images, user get to choose the channel to which he wants to apply the transformation, for aligning the images

## Slide 13: Acknowledgements
Malin Sandstrom, International Neuroscience Coordinating Facility, Sweden
Tomasz, University of Heidelberg, Germany
Dimiter Prodanov, INCF Belgian Node, Belgium and EHS/NERF, Imec, Leuven, Belgium
Daniel Sage, Biomedical Imaging Group, EPFL Switzerland

## Slide 14: Thank You! any questions ?